## Slide 1
How Efficient is Your Kitchen?

## Slide 2
Developed by:
Notes: 2

## Slide 3: Lighting
Incandescent Light Bulb
Compact Fluorescent
LED Lamp

## Slide 4
Pilot lights and burners that are poorly adjusted will waste energy.
Range Tops

## Slide 5: Kitchen Equipment Align doors

## Slide 6: Kitchen Equipment Door Gaskets

## Slide 7: Cooler Doors
automatic door closer
Strip Curtain

## Slide 8: Cooler Evaporator Coils
Dirty
Frozen
Trashy

## Slide 9: Cooler Door Heaters
Operate door heaters only when condensation appears around the perimeter of the door.

## Slide 10: Exhaust Hoods
Are there side panels to capture exhaust?

## Slide 11: Exhaust Hoods
Is equipment placed close to wall to wall to maximize hood efficiency?

## Slide 12: Water Faucet Leaks

## Slide 13: Water Leaks – Is it hot water? If so, it costs you three times!
Heating
Energy
Sewer
Water

## Slide 14: Water Line Insulation
Insulated
Uninsulated

## Slide 15: Pre-Rinse Spray Valves
Traditional Spray Valve
Use low-flow Pre-Rinse Spray Valves

## Slide 16: Pre-Rinse Spray Valves
Hours of Spray Valve Usage | Water Savings gallons/day | Waste Water Savings gallons/day | Gas Savings therms/day | Annual Dollar Savings
1 hour/day | 60 gallons | 60 gallons | 0.5 therms | $300 - $350
2 hours/day | 120 gallons | 120 gallons | 1.0 therms | $600 - $700
3 hours/day | 180 gallons | 180 gallons | 1.5 therms | $900 - $1050
Table shows results based reducing water flow by one gallon per minute, water cost of $2 per unit (748 gal), sewer cost of $3 per unit (748 gal.) and gas cost of $1 per therm.

## Slide 17: Recycling & Composting

## Slide 18: What about work habits?
Cooler doors open or propped open?
Pay careful attention to kitchen "plug loads". For instance, turn off holding cabinets, coffee machines, conveyor toasters, steam tables, plate and food warmers, and heat lamps when not needed.
When are hoods on?
What about lights?

## Slide 19
Thanks!